Competency Checklist Use of Haemoscope TEG® 5000 Haemostasis Analyser

Please ensure  you have the current version of this competency assessment.

Name:                                               Grade:               Hospital/Site/Ward/Department:

Assessed by:						Date:

1.	Knows the infection control precautions to take for performing the test.			□

- Can demonstrate correct use of analyser as per SOP.					□

3.	Knows the correct storage conditions of QC material.			             	□

4.	Is aware of the shelf life of QC material.					                        □

5.	Knows the importance of entering the correct patient number.				□

6          Can demonstrate performing QC test successfully.						□

7	Knows when to perform QC tests.								□

8	Knows what to do if QC fails.									□

9	Knows correct disposal of waste & sharps.							□

10.	Can identify correct procedure for decontamination.						□

11.	Can identify procedure for reporting malfunction of equipment.				□

12.	Is aware of the Trust Standard Operating Procedure for use of the analyser		□

Signature of individual:						Date:

Signature of assessor:						Date: