## Front page
NICE clinical guideline XX
NICE interventional procedure guidance XXX

## Introduction
Audit support for NICE interventional procedure guidance on Endovascular stent-grafting of popliteal aneurysms (2011)
Instructions for using the workbook
The audit support document can be used to measure current practice in endovascular stent-grafting of popliteal aneurysms against the recommendations in the NICE guidance.
This document provides audit criteria (Criteria tab) based on the guidance developed by the NICE IP guidance programme. Users can cut and paste these criteria into their own programmes. The standards (where given) are based on the evidence available. Where there is insufficient evidence, no standard is given. In this situation, a local standard should be determined based on regular monitoring.
To assist with the collection of data to support the suggested audit criteria, a tailored data collection tool has also been provided (Data collection tab). This can be used as it is or adapted for use by the trust.
To ensure that any valuable insight regarding unexpected consequences of this procedure is shared among clinicians, each adverse event should be documented and details forwarded to the National Patient Safety Agency's (NPSA) National Reporting and Learning System.
Some of the data items required a grading to clarify whether the symptoms or event was present and, if so, it's severity. The grading options are included in the relevant cells as drop down options and are also listed below for information.
Grade
0 - No adverse event
1 - Mild adverse event (minor no specific intervention)
2 - Moderate adverse event (minimal intervention)
3 - Severe and undesirable adverse event (significant symptoms)
4 - Life threatening or disabling adverse event (need for intensive care or invasive procedures)
5 - Death related to adverse event
This spreadsheet contains:
• a data collection sheet. Data should be entered in the cells highlighted in yellow. At the bottom of every column are totals and the percentage of the sample meeting the standard. When the standard (100% or 0%) has been met the cell will turn green and any value below 100% will be red. This can be changed if the organisation feels that a lower standard is appropriate.
• a results page, which will clearly display results from the data entered into the data collection sheet
• charts, containing bar charts of the results that can be copied into local clinical audit and governance reports
• a sheet containing demographic information - a breakdown of the sample by sex and ethnic category and the age range.
Using the spreadsheet
Enter your results into the 'Data entry' worksheet. Data should be entered into the yellow cells only.
Each case should be allocated with an audit ID. If using a paper data collection tool, this number should also be recorded on the top left hand corner of the audit form.
If there are instructions for a particular column, these have been put in the red triangle comment for the title cell: just place the mouse over the triangle to view it or go to View, Comments to show all
Once you have inserted your data the results with automatically be calculated at the end of the column/row. They will also be displayed in the Results sheet. A chart will also be produced in the Charts sheet and demographic details will be presented in the Demographics sheet.
Using the spreadsheet with multiple users
In some instances several people will be collecting data at the same time. This spreadsheet can still be used by one of two methods:
1. If your organisation uses a shared network data can be entered by more than one person at the same time. When one user saves the document all data entered by all users will be saved.
2. If data is being collected by users who cannot access a network but can enter data directly into the spreadsheet, data should be collected as normal and then copied and pasted into one copy of the spreadsheet. Rows should be copied from one file and pasted into another at or above the row containing the text 'Add new patient'. This will update all the relevant formulae and ensure that all data is included in the results.
National Institute for Health and Clinical Excellence
MidCity Place, 71 High Holborn, London WC1V 6NA; www.nice.org.uk
© National Institute for Health and Clinical Excellence, 2010. All rights reserved. This material may be freely reproduced for educational and not-for-profit purposes. No reproduction by or for commercial organisations, or for commercial purposes, is allowed without the express written permission of NICE.

## Criteria
Audit criteria for Endovascular stent-grafting of popliteal aneurysms
Criterion 1 | The percentage of patients undergoing endovascular repair of popliteal aneurysms who: • have received written information on the procedure and any possible complications • have had a discussion with the clinician about the procedure which is documented in the notes • gave written consent to treatment.
Exceptions | None
Standard | 100%
Definition | The DH 'Good practice in consent' initiative produced formal processes and documents for full and informed consent. The correct documents should be used to support the consent process for all investigations and treatments. Specific information regarding the treatment should be provided. If the patient is not capable of providing consent, the information and discussion elements should apply to the patient’s delegated carer/guardian.
ADVERSE EVENTS
Criterion 2 | The percentage of people undergoing endovascular repair of popliteal aneurysms who have had any of the following adverse events: • thrombosis • stent fracture • stent migration • stenosis • distal embolisation • access site haematoma • pseudo-aneurysm • acute compartment syndrome • other
Exceptions | None
Standard | Endograft thrombosis occurred in 10% (2/21) of patients treated by endovascular repair the day after the procedure. Stent fracture occurred in 4% (3/73) of aneurysms. Stent migration occurred in 12% (9/73) of aneurysms. Stenosis occurred in 3% (2/73) of procedures. Distal embolisation was reported in 1 patient in a case series of 50 patients. Access-site haematoma was reported in 9% (3/33) of aneurysms. 1 patient was reported to have a pseudo-aneurysm. There was 1 case report of acute compartment syndrome.
Definition | Grade 0 - No adverse event 1 - Mild adverse event (minor no specific intervention) 2 - Moderate adverse event (minimal intervention) 3 - Severe and undesirable adverse event (significant symptoms) 4 - Life threatening or disabling adverse event (need for intensive care or invasive procedures) 5 - Death related to adverse event
EFFICACY
Criterion 3 | The percentage of people undergoing endovascular repair of popliteal aneurysms who have had any of the following clinical outcomes: • primary patency • secondary patency • aneurysm exclusion • limb salvage • re-intervention • other.
Exceptions | None
Standard | Primary and secondary patency rates were reported to be 83% and 86% respectively at 1year (320 patients). Aneurysm exclusion was reported in all patients (studies involving 42 and 43 patients). Limb salvage rates of 97%-100% were found in 2 studies (using 50 patients and 29 patients). Re-intervention was required in 14% (3/21) of patients.
Definition | None

## Data collection
Data collection for endovascular stent-grafting of popliteal aneurysms
[6 empty] | Baseline data | [10 empty] | Procedure |  |  |  |  | Consent |  |  | Adverse events | [10 empty] | Effectiveness
[6 empty] | Indication for stent graft |  |  |  | Symptoms | [16 empty] | Stent migration
[6 empty] | A | B | C | D | E | F | G | H | I | J | K | L | M | N | O | P | Q | R | S | T | U | V | W | X | Y | Z | AA | AB | AC | AD | AE | AF | AG | AH | AI | AJ | AK | AL | AM | AN
Patient ID | Age | Sex | Ethnicity | Date of procedure | Date of follow up | Aneurysm | Pseudoaneurysm | Trauma | Other | Asymptomatic | Claudication | Pain | Was surgery an option? | Location of aneurysm | Size (cm) | Runoff vessels | Length of procedure (mins) | Make of stent | Length of stent | Diameter of stent | Number of stents | Was written information on the procedure and any possible complications given to the patient? | Has a discussion with a clinician about the procedure has been documented in the notes? | Has written consent to treatment has been obtained? | Thrombosis | Stent fracture | Shortening | Disconnection | Incomplete lesion coverage | Stenosis | Distal embolisation | Access site haematoma | Pseudoaneurysm | Acute compartment syndrome | Other | Primary patency | Secondary patency | Aneurysm exclusion | Runoff vessels | Limb salvage | Re-intervention | Other | Post-procedural anticoagulation | Details | Duration
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
Add new patient
TOTALS | [5 empty] | Symptoms H: Yes: 0; Symptoms I: Left: 0; Symptoms K: 0 runoff vessels: 0; Symptoms T: No adverse event: 0; Symptoms U: No adverse event: 0; Stent migration V: No adverse event: 0; Stent migration W: No adverse event: 0; Stent migration X: No adverse event: 0; Stent migration Y: No adverse event: 0; Stent migration Z: No adverse event: 0; Stent migration AA: No adverse event: 0; Stent migration AB: No adverse event: 0; Stent migration AC: No adverse event: 0; Stent migration AH: 0 runoff vessels: 0; Stent migration AN: 1 month: 0
[13 empty] | No - unfit for surgery: 0 | Right: 0 |  | 1 runoff vessel: 0 | [8 empty] | Grade 1: 0 | Grade 1: 0 | Grade 1: 0 | Grade 1: 0 | Grade 1: 0 | Grade 1: 0 | Grade 1: 0 | Grade 1: 0 | Grade 1: 0 | Grade 1: 0 |  |  |  |  | 1 runoff vessel: 0 | [5 empty] | 3 months: 0
[13 empty] | No - patient choice: 0 | Bilateral: 0 |  | 2 runoff vessels: 0 | [8 empty] | Grade 2: 0 | Grade 2: 0 | Grade 2: 0 | Grade 2: 0 | Grade 2: 0 | Grade 2: 0 | Grade 2: 0 | Grade 2: 0 | Grade 2: 0 | Grade 2: 0 |  |  |  |  | 2 runoff vessels: 0 | [5 empty] | 6 months: 0
[13 empty] | No - other: 0 |  |  | 3 runoff vessels: 0 | [8 empty] | Grade 3: 0 | Grade 3: 0 | Grade 3: 0 | Grade 3: 0 | Grade 3: 0 | Grade 3: 0 | Grade 3: 0 | Grade 3: 0 | Grade 3: 0 | Grade 3: 0 |  |  |  |  | 3 runoff vessels: 0 | [5 empty] | Other: 0
[25 empty] | Grade 4: 0 | Grade 4: 0 | Grade 4: 0 | Grade 4: 0 | Grade 4: 0 | Grade 4: 0 | Grade 4: 0 | Grade 4: 0 | Grade 4: 0 | Grade 4: 0
[25 empty] | Grade 5: 0 | Grade 5: 0 | Grade 5: 0 | Grade 5: 0 | Grade 5: 0 | Grade 5: 0 | Grade 5: 0 | Grade 5: 0 | Grade 5: 0 | Grade 5: 0
Yes | [5 empty] | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0
No | [5 empty] | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0
Total | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Percentage | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [8 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0!
A1 White British
A2 White Irish | bar: Symptoms H; Stent migration Z
A3 Any other White background | bar: Symptoms H; Stent migration Z
B1 Mixed White and Black Caribbean | bar: Symptoms H; Stent migration Z
B2 Mixed White and Black African | bar: Symptoms H; Stent migration Z
B3 Mixed White and Asian | bar: Symptoms H; Stent migration Z
B4 Any other mixed background | bar: Symptoms H; Stent migration Z
C1 Asian or Asian British Indian | bar: Symptoms H; Stent migration Z
C2 Asian or Asian British Pakistani | bar: Symptoms H; Stent migration Z
C3 Asian or Asian British Bangladeshi
C4 Any other Asian background
D1 Black or Black British Caribbean
D2 Black or Black British African
D3 Any other Black background
E1 Chinese
E2 Any other ethnic group
Z Not stated
Note on A46: NICE Administrator: Right click on the far left colum to add a new row
Note on F5: NICE Administrator: Add extra columns if more than one follow up

## Results
RESULTS
Criterion Number | Data item | Criterion | Result
|  |  | Number | %
Baseline data
Indications for stent graft
| A | Aneurysm | 0 | #DIV/0!
| B | Pseudoaneurysm | 0 | #DIV/0!
| C | Trauma | 0 | #DIV/0!
| D | Other
Symptoms
| E | Asymptomatic | 0 | #DIV/0!
| F | Claudication | 0 | #DIV/0!
| G | Pain | 0 | #DIV/0!
| H | Was surgery an option?
|  | Yes | 0 | #DIV/0!
|  | No - unfit for surgery | 0 | #DIV/0!
|  | No - patient choice | 0 | #DIV/0!
|  | No - other | 0 | #DIV/0!
| I | Location of aneurysm
|  | Left | 0 | #DIV/0!
|  | Right | 0 | #DIV/0!
|  | Bilateral | 0 | #DIV/0!
| J | Size (cm) | 0-0
| K | Runoff vessels
|  | 0 | 0 | #DIV/0!
|  | 1 | 0 | #DIV/0!
|  | 2 | 0 | #DIV/0!
|  | 3 | 0 | #DIV/0!
Procedure
| L | Length of procedure (mins) | 0-0
| M | Make of stent
| N | Length of stent | 0-0
| O | Diameter of stent | 0-0
| P | Number of stents | 0-0
Consent
1 | Q | Was written information on the procedure and any possible complications given to the patient? | 0 | #DIV/0!
| R | Has a discussion with a clinician about the procedure has been documented in the notes? | 0 | #DIV/0!
| S | Has written consent to treatment has been obtained? | 0 | #DIV/0!
Adverse events
2 | T | Thrombosis | 0 | #DIV/0! | ADVERSE EVENTS - breakdown of results by grade
| U | Stent fracture | 0 | #DIV/0! | Grade | Thrombosis | Stent fracture | Shortening | Disconnection | Incomplete lesion coverage | Stenosis | Distal embolisation | Access site haematoma | Pseudoanuerysm | Acute compartment syndrome
| V | Stent migration - shortening | 0 | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| W | Stent migration - disconnection | 0 | #DIV/0! | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| X | Stent migration - incomplete lesion coverage | 0 | #DIV/0! | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Y | Stenosis | 0 | #DIV/0! | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Z | Distal embolisation | 0 | 0% | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| AA | Access site haematoma | 0 | 0% | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| AB | Pseudoaneurysm | 0 | #DIV/0!
| AC | Acute compartment syndrome | 0 | #DIV/0!
Effectiveness
3 | AE | Primary patency | 0 | #DIV/0!
| AF | Secondary patency | 0 | #DIV/0!
| AG | Aneurysm exclusion | 0 | #DIV/0!
| AH | Runoff vessels
|  | 0 | 0 | #DIV/0!
|  | 1 | 0 | #DIV/0!
|  | 2 | 0 | #DIV/0!
|  | 3 | 0 | #DIV/0!
| AI | Limb salvage | 0 | #DIV/0!
| AJ | Re-intervention | 0 | #DIV/0!
| AL | Post-procedural anticoagulation | 0 | #DIV/0!

## Charts
Graph to show rate of occurrence of adverse event (irrespective of grade)

## Demographics
Demographic breakdown of sample
Male | 0
Female | 0
Age range: | 0 - 0
Ethnic categories:
A : White
1 British | 0
2 Irish | 0
3 Any other White background | 0
B : Mixed
1 White and Black Caribbean | 0
2 White and Black African | 0
3 White and Asian | 0
4 Any other mixed background | 0
C : Asian or Asian British
1 Indian | 0
2 Pakistani | 0
3 Bangladeshi | 0
4 Any other Asian background | 0
D : Black or Black British
1 Caribbean | 0
2 African | 0
3 Any other Black background | 0
E : Chinese or other ethnic group
1 Chinese | 0
2 Any other | 0
Z Not stated | 0

## Cake results
% of patients given written information on the procedure and any possible complications | % of patients who have discussions with a clinician about the procedure documented in the notes? | % of patients with written consent to treatment obtained? | % of patients who had the following adverse event - thrombosis | % of patients who had the following adverse event - Stent fracture | % of patients who had the following adverse event - Stent migration - shortening | % of patients who had the following adverse event - Stent migration - disconnection | % of patients who had the following adverse event - Stent migration - incomplete lesion coverage | % of patients who had the following adverse event - Stenosis | % of patients who had the following adverse event - Distal embolisation | % of patients who had the following adverse event - Access site haematoma | % of patients who had the following adverse event - Pseudoaneurysm | % of patients who had the following adverse event - Acute compartment syndrome | % of patients who had the following clinical outcome - Primary patency | % of patients who had the following clinical outcome - Secondary patency | % of patients who had the following clinical outcome - Aneurysm exclusion | % of patients who had the following clinical outcome - Limb salvage | % of patients who had the following clinical outcome - Re-intervention
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0% | 0% | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!